Section 371.165  Safety

This element of the PO must identify necessary actions and include a schedule for implementing an employee safety program. Personnel responsible for the completion of each action must be identified by name and title. Reference must be made to the chapter on safety in the O&M Manual.

|  | ACTION | START DATE | END DATE | RESPONSIBLE PERSONNEL |
| --- | --- | --- | --- | --- |
| a) | Develop detailed guidance on an employee safety training program. |  |  |  |
| b) | Begin the safety training program for all facility staff prior to start-up. |  |  |  |
| c) | Conduct a facility safety tour with all staff to determine specific facility safety hazards. |  |  |  |
| d) | Start periodic safety reviews with all staff. |  |  |  |
| e) | Conduct first annual facility safety review and modify the safety program, if necessary. |  |  |  |