Section 371.168  Operation and Maintenance Manual

This element of the PO identifies necessary actions and related implementation schedules for the preparation and submission of the facility O&M Manual. Personnel responsible for completing each action must be identified by name and title. The submission date of the final O&M Manual must allow sufficient lead time for the manual to be reviewed 30 days prior to facility start-up.

|  | ACTION | START DATE | END DATE | RESPONSIBLE PERSONNEL |
| --- | --- | --- | --- | --- |
| a) | Prepare the draft of the O&M Manual. |  |  |  |
| b) | Submit the draft O&M Manual to the Agency for review and approval. |  |  |  |
| c) | Order and compile the O&M library references. |  |  |  |
| d) | Obtain the Chief Operator's comments and input for inclusion in the final O&M Manual. |  |  |  |
| e) | Submit the completed O&M library to the treatment facility. |  |  |  |
| f) | Finalize the O&M Manual. |  |  |  |
| g) | Submit final O&M Manual for review to the Chief Opertor. |  |  |  |
| h) | Submit final O&M Manual and the Chief Operator's review checklist to the Agency for review. |  |  |  |
| i) | Update the O&M Manual and, if necessary, add materials to the O&M library based on the first year of operating experience. |  |  |  |