Section 371.221  Chapter I − Introduction

a)	Discuss how to use and update the O&M Manual and the O&M library.

b)	List and discuss operator responsibilities and the importance of items such as:

1)	Knowing proper operational procedures;

2)	Keeping accurate records;

3)	Managing operating funds properly;

4)	Keeping supervisors informed;

5)	Keeping informed of current operation and maintenance practices;

6)	Other areas of operational importance.

c)	List and discuss managerial responsibilities and the importance of items such as:

1)	Maintaining efficient plant operation and maintenance;

2)	Maintaining adequate records;

3)	Establishing staff requirements, preparing job descriptions and assigning personnel;

4)	Providing good working conditions;

5)	Implementing an ongoing operator training program;

6)	Providing incentives for employees:

7)	Maintaining good public relations;

8)	Preparing budgets and reports;

9)	Planning for future facility needs;

10)	Developing standard operating procedures;

11)	Other areas of managerial or supervisory importance.

d)	Briefly describe the facility and the individual units.