Section 371.229  Chapter IX − Emergency Operation and Response Program

a)	Analyze facility vulnerability to emergency situations including:

1)	Equipment failures

2)	Natural disasters

3)	Strikes

4)	Civil disorders

b)	Discuss methods to reduce facility vulnerability to such situations.

c)	List any mutual aid agreements with other organizations.

d)	Include a complete emergency equipment inventory and discuss updating it on a routine basis.

e)	Provide for preserving facility records, drawings, etc.

f)	Provide a complete industrial waste inventory and monitoring system and discuss updating it on a routine basis.  The system must include for each industry:

1)	The name and location of the discharging industry;

2)	A description of the industrial waste;

3)	The names and telephone numbers of the industry's key personnel for emergency contact.

g)	Provide written coordinating instructions for local police and fire departments.

h)	Outline the responsibilities of facility personnel for various emergency situations.

i)	Designate an emergency response center.

j)	Discuss sources of auxiliary personnel.

k)	List emergency telephone numbers for hospital, fire station, ambulance, chlorine supplier, etc., on a form.

l)	Discuss plans for keeping the emergency operating and response plan current.