Section 372.250  Project Layout

A single topographic map of the proposed project and the area within 2,500 ft. of the project shall be submitted as a part of the engineering design. Segmented maps may be provided for large projects.  The topographic map shall show the following information:

a)	Application area boundaries including buffer zones;

b)	Treatment and storage facilities;

c)	Piping and layout of the irrigation system;

d)	Present and proposed land use regarding residences, buildings, developments, public access areas, etc;

e)	Present and proposed water supply wells and abandoned wells and shafts;

f)	Direction of groundwater movement and any points of groundwater resurfacing;

g)	Surface waters and waterways, wetlands and 10-year floodplains;

h)	Subsurface drainage tiles and storm sewers; and

i)	Slopes of the application areas.