Section 372.400  Degree of Treatment Required Relative to Application Area

a)	Agricultural Areas

Agricultural or forested areas that do not have public access shall provide at a minimum a two cell lagoon system or a mechanical secondary treatment facility.

b)	Urban Areas

Urban parks, forest preserves and golf courses and other areas with public access shall utilize as a minimum a two cell lagoon system with tertiary sand filtration and disinfection or a mechanical secondary treatment facility with disinfection.