Section 373.202  Facility Description

The application shall describe the facility including, at a minimum:

a)	location,

b)	design and operating data,

c)	untreated waste load and effluent quality,

d)	construction permit and NPDES permit information, and

e)	useful life of the facility being replaced, if applying per Section 373.103(c), and

f)	any proposed expansion or upgrading program.

(Source:  Amended at 12 Ill. Reg. 3472, effective January 22, 1988)