Section 373.203  Population Equivalent Requirements

a)	If applying per Section 373.103(a), the applicant shall show that the facility is presently receiving an untreated organic waste load of less than 2,500 P.E.

b)	If applying per Section 373.103(b) or (c), the applicant shall show that the facility is presently receiving an untreated organic waste load of 5000 P.E. or less.

c)	If the facility is treating a waste load of less than the applicable P.E. limit as specified in Section 373.103 but is designed to treat a greater load, this regulation may be applied until the facility begins to treat the allowed maximum waste load.  A specific deadline which estimates when this loading limit will be reached shall be included in the permit.

(Source:  Amended at 12 Ill. Reg. 3472, effective January 22, 1988)