Section 374.102  Conventional System Preference

If possible, the development proposed shall be served by a conventional sewer system.  A conventional sewer system is defined as gravity sewers or a conventionally designed pumping station.

(Source:  Amended at 21 Ill. Reg. 12439, effective August 28, 1997)