Section 374.104  Sludge Disposal

Permits for STEP systems shall not be issued unless the applicant provides satisfactory evidence that adequate facilities are available for the pumping and disposal of septic tank sludge.

(Source:  Section 374.104 repealed and new Section 374.104 renumbered from Section 374.105 at 21 Ill. Reg.12439, effective August 28, 1997)