Section 374.202  Minimum Size

The grinder pump "wet well" should have a minimum size of 150 gallons.