Section 374.204  Non-corrosive Equipment

Non-corrosive or corrosion-resistant equipment shall be specified for STEP systems.