Section 374.207  Marked Sewer Lines

Where polyvinyl chloride (PVC) pressure mains are to be installed in the vicinity of similar water supply lines, the sewer line should be clearly marked to prevent possible future cross-connections.

(Source:  Amended at 21 Ill. Reg. 12439, effective August 28, 1997)