Section 374.208  Alarm Systems

An alarm system shall be provided in the home where grinder units are installed in the basement to alert the home owner in case of pump malfunction.  A visual alarm system shall be provided for those pumping units installed in a separate pumping vault outside of the home.

(Source:  Amended at 21 Ill. Reg. 12439, effective August 28, 1997)