Section 380.200  Required Supervision

All portions of a wastewater treatment or pretreatment works for which a permit is required by 35 Ill. Adm. Code 309 shall be under the direct supervision of a Chief Wastewater Operator. The Chief Wastewater Operator shall hold a Certificate of Technical Competency of the class indicated below:

a)	A Group 1 facility requires a Class 1 Certificate of Technical Competency.

b)	A Group 2 facility requires a Class 1 or Class 2 Certificate of Technical Competency.

c)	A Group 3 facility requires a Class 1, Class 2 or Class 3 Certificate of Technical Competency.

d)	A Group 4 facility requires Class 1, Class 2, Class 3 or Class 4 Certificate of Technical Competency

e)	Group K facility requires a Class K Certificate of Technical Competency.

f)	Group R facility requires a Class R Certificate of Technical Competency.

(Source:  Amended at 43 Ill. Reg. 5203, effective July 1, 2019)