Section 391.413  Potassium

Although most sludges will not contain sufficient potassium levels for optimum nutrient loading, the potassium concentrations in sludge shall be analyzed for the purposes of advising sludge users.