Section  391.APPENDIX F   General Buffer Area, Geological and Topographic Criteria for Sludge Application

| SLUDGE APPLICATION METHOD |  |
| --- | --- |
| Incorporation or Injection | 20 ft. from occupied dwelling. 10 ft. from closet edge of traveled portion of public road or within fence. 200 ft. from surface water. |
| Ridge and Furrow | 200 ft. from occupied dwelling. 200 ft. from closest edge of traveled portion of public road or within fence. 200 ft. from surface water. |
| Dewatered material or Splash Plate to Land Surface | 200 ft. from occupied dwelling. 200 ft. from closest edge of traveled portion of primary and secondary public roads; or 10 ft. from closest edge public roads; or within fence. 200 ft. from surface water. |
| Low Pressure Sprayers (<50 psi (as measured from outer boundary of spray) | 200 ft. from occupied dwelling. 200 ft. from closest edge of traveled portion of public road. 200 ft. from surface water, waterways or flood plains. Wind velocity <15 mph. |
| High Pressure Sprayers (>50 psi) (as measured from outer boundary of spray) | 1000 ft. from occupied dwelling. 1000 ft. from closest edge of traveled portion of public road. 1000 ft. from surface water, waterways or flood plains. Wind velocity <15 mph. |
| GEOLOGICAL CONSIDERATIONS |  |
| Minimum Depth of Earth Cover to the Mean Annual Water Tale | 10 ft. with rapid permeability (greater than 2.0 inches/hr) 5 ft. with moderate to slow permeability (less than 2.0 inches/hour) |
| Distance from Potable Water Well | 150 ft. in all instances, however, if a water supply is located in a consolidated bedrock (such as limestone) or sinkhole area and is within one-fourth of a mile of the sludge application site, then 50 foot depth of non-sandy, non-gravelly unconsolidated material is needed for water supply protection |
| TOPOGRAPHIC CONSIDERATIONS |  |
| Maximum Slope | 8% (incorporation)* |
|  | 5% (surface application)* |
| Application to Waterways | Not allowed |
| Application in a flood plain having a flooding frequency more often than once every ten years | Only if approved by Agency after review of project. |
| *May be exceeded under certain conditions. See discussion in Section 391.404. |  |