Section 392.102  Definitions

"Agency" means the Illinois Environmental Protection Agency.

"Critical Review" shall be defined as the Agency determination, pursuant to Section 39 of the Environmental Protection Act (Ill. Rev. Stat. 1981, ch. 111½, par. 1039) and 35 Ill. Adm. Code 309.241, that a sewer is approaching hydraulic capacity or that a sewage treatment plant is approaching design capacity such that additional sewer connection permit applications will require close scrutiny to determine whether issuance would result in a violation of the Act or Regulations.

"Restricted Status" shall be defined as the Agency determination, pursuant to Section 39 of the Environmental Protection Act (Ill. Rev. Stat. 1981, ch. 111½, par. 1039) and 35 Ill. Adm. Code 309.241, that a sewer has reached hydraulic capacity or that a sewage treatment plant has reached design capacity, such that additional sewer connection permits may no longer be issued without causing a violation of the Act or Regulations.

"Sewer Connection" means a sewer for which a construction permit is required under 35 Ill. Adm. Code 309.202.