Section 395.102  Definitions

Definitions for words not included below may be found in Chapter 3:  Water Pollution, of the Illinois Pollution Control Board's Rules and Regulations.

a)	Receiving Water:  Waters of the State of Illinois to which wastewater will be discharged.

b)	Particle Size Analysis:  Test for the physical separation of sand and gravel (diameters greater than 62 microns) from silt and clay (diameters less than 62 microns).

c)	Resuspension Test:  Chemical analysis of the constituents of the wastewater from the dredge or fill process; may be either an elutriate or supernatant test.

d)	Elutriate Test:  Resuspension test for mechanically moved dredge or fill material.

e)	Supernatant Test:  Resuspension test for hydraulically moved dredge or fill material.