Section 406.109  Effluent Standards for Coal Mine Discharges from Reclamation Areas

a)	The effluent limitations at 35 Ill. Adm. Code 304 and Section 406.106 do not apply to mine discharges from reclamation areas.

b)	A mine discharge effluent from a reclamation area must not exceed the following levels of contaminants:

| Constituent | Concentration |
| --- | --- |
| Settleable solids | 0.5 ml/L |
| pH (range) | 6-9 |

c)	Notwithstanding subsection (b), any discharge or increase in discharge volume caused by precipitation within a 24-hour period greater than the 10-year, 24-hour precipitation event (or snowmelt of equivalent volume) is subject only to a pH limitation range of 6-9.

(Source:  Amended at 43 Ill. Reg. 11620, effective September 25, 2019)