Section 580.106  Contents of Report

The report required under Section 580.105(a) must include, as a minimum, each of the following to the extent that it is known at the time of the report:

a)	name and telephone number of the person reporting the release;

b)	county, distance and direction from nearest town, village or municipality of the release;

c)	an estimate of the quantity in gallons that was released, and an estimate of the flow rate if the release is ongoing;

d)	area into which the release occurred (field, ditch, stream, or other description) and apparent environmental impacts of the release;

e)	time and duration of the release;

f)	the names and telephone numbers of persons who may be contacted for further information;

g)	dangers to health or the environment resulting from the release;

h)	actions taken to respond to, contain and mitigate the release; and

i)	name of facility and mailing address.