Section 602.116  Requirement for As-Built Plans

Whenever a supply has been constructed without a construction permit, the Agency may require submission of as-built plans prepared by a qualified person as described in Section 602.105(c).  Any deficiencies requiring correction as determined by the Agency must be corrected within a time limit set by the Agency.  This does not relieve the owner or official custodian from any liability for construction of the supply without a permit.