Section 602.116  Requirement for As-Built Plans

If any portion of a community water supply has been constructed without a construction permit as required by Section 602.101, or an emergency permit issued under Section 602.104, the community water supply must submit to the Agency as-built plans and specifications and a construction permit application.  As-built plans and specifications must be prepared by a qualified person as described in Section 602.105(a)(4).  All plans and specifications submitted to the Agency under this Section must be clearly marked "as-built" or "record drawings".  Any deficiencies requiring correction, as determined by the Agency, must be corrected within a time limit set by the Agency.  Submission of as-built plans and the correction of any deficiencies does not relieve the owner or official custodian from any liability for construction without a permit.

(Source:  Amended at 47 Ill. Reg. 7449, effective May 16, 2023)