Section 602.210  Construction Permit Applications

All applications for construction permits required under this Part must contain, when appropriate, the following information and documents:

a)	General information, including:

1)	name of the community water supply;

2)	community water supply identification number;

3)	the name and mailing address of the owner or official custodian of the community water supply; and

4)	name, scope and location of the project;

b)	Engineer's report as specified in Section 602.225;

c)	A summary of the design criteria as specified in Section 602.230;

d)	Specifications as specified in Section 602.235;

e)	Plans as specified in Section 602.240;

f)	Specific information for the type of construction, as follows:

1)	For source construction, information specified in Section 602.245;

2)	For the construction of treatment facilities, information specified in Section 602.250;

3)	For the construction of storage facilities, information specified in Section 602.255;

4)	For the construction of water mains, information specified in Section 602.260;

g)	Water purchase contracts between water supplies and/or inter-municipal agreements, when applicable;

h)	Evaluation of technical, managerial and financial capacity as specified in Section 602.103 for new community water supplies;

i)	Certification by each person signing the application that the information in the application is complete and accurate, and that the text of the application has not been changed from the Agency's official construction permit application form; and

j)	Any other information required by the Agency for proper consideration of the permit.

(Source:  Amended at 43 Ill. Reg. 8036, effective July 26, 2019)