Section 602.230  Design Criteria

A summary of complete design criteria must be submitted for the proposed project containing, when applicable, the following:

a)	long term dependable yield of the source of supply;

b)	reservoir surface area, volume, and a volume versus depth curve;

c)	area of the watershed;

d)	estimated average and maximum daily water demands for the design period;

e)	number of proposed service connections;

f)	firefighting requirements;

g)	flash mix, flocculation and settling basin capacities;

h)	retention times;

i)	unit loadings;

j)	filter area and the proposed filtration rate;

k)	backwash rate;

l)	feeder capacities and ranges; and

m)	minimum and maximum chemical application rates.

(Source:  Added at 40 Ill. Reg. 6799, effective April 15, 2016)