Section 602.320  Partial Operating Permits

a)	If all phases of a construction project will not be completed at one time, the Agency must issue a partial operating permit under Section 602.105 upon receipt of:

1)	a cover letter describing which sections of the project are completed;

2)	a general layout plan sheet of the project indicating the location of water mains, treatment processes, or storage facilities to be operated;

3)	a completed and signed operating permit application; and

4)	bacteriological analysis results from water samples collected from the completed section of the project verifying satisfactory disinfection in accordance with Section 602.310.

b)	Additional operating permits may be obtained in accordance with this Section as other portions of the project are completed.

(Source:  Amended at 47 Ill. Reg. 7449, effective May 16, 2023)