Section 604.160  Safety

a)	All community water supplies whose treatment involves chemical application must have and maintain a chemical safety plan.

b)	All community water supply personnel involved in the use and maintenance of chemicals must have periodic safety training.