Section 604.225  Reservoirs

Reservoirs must provide, where applicable, for:

a)	removal of brush and trees to high water elevation;

b)	protection from floods during construction; and

c)	abandonment of all wells that will be inundated.