Section 604.305  Source Water Protection Plan Requirement and Contents

Each community water supply that treats surface or groundwater as a primary or emergency supply of water must develop a source water protection plan that contains the following minimum elements:

a)	a vision statement as set forth in Section 604.310;

b)	a source water assessment as set forth in Section 604.315;

c)	the objectives set forth in Section 604.320; and

d)	an action plan as set forth in Section 604.325.