Section 604.320  Source Water Protection Plan Objectives

The source water protection plan must contain a list of the community water supply's objectives for protecting source water.  These objectives can include meeting the requirements of any of the Sections in this Subpart, including developing a vision statement or performing a source water assessment.  Objectives may also address the specific problems or issues identified in the source water assessment and should consider current and potential future issues.