Section 604.910  Phosphates

Phosphate solution must be kept covered and disinfected by carrying approximately 10 mg/L free chlorine residual unless the phosphate is not able to support bacterial growth and the phosphate is being fed from the covered shipping container.  Phosphate solutions having a pH of 2.0 or less may also be exempted from this requirement by the Agency.