Section 604.1120  Acids and Caustics

a)	Acids and caustics must be kept in closed corrosion-resistant shipping containers or bulk liquid storage tanks.

b)	Acids and caustics must not be handled in open vessels.

c)	Acids storage tanks must be vented to the outside atmosphere.