Section 604.1135  Sodium Hypochlorite

Storage of sodium hypochlorite must be:

a)	protected from excess temperatures;

b)	sited out of the sunlight in a cool area; and

c)	vented to the outside of the building.