Section 604.1145  Potassium Permanganate

Potassium permanganate may be fed with gravimetric feeders or from batched solution fed from day tanks.  For batched solutions:

a)	the potassium permanganate added cannot exceed the solubility limits based on temperature; and

b)	mechanical mixers must be provided.