Section 604.1320  Level Controls

Storage structures must provide:

a)	adequate controls, including telemetering equipment, to maintain water levels within the operating range of distribution system storage structures;

b)	level indicating devices; and

c)	overflow and low-level warnings or alarms.