Section 604.1445  Sanitary Separation for Raw Water Mains

a)	Raw water mains from groundwater sources must have the same sanitary separation as provided in Section 604.1440 for finished water mains.

b)	Raw water mains from surface water sources must have the same sanitary separation between the sanitary sewer, combined sewer, house sewer service connections and drains as provided in Section 604.1440 for finished water mains.