Section 604.1460  Water Loading Stations

To prevent contamination of both the public supply and potable water vessels being filled, the following principles must be met in the design of water loading stations:

a)	a six inch or larger air gap or other Agency approved cross connection control measure must be included for all water loading stations;

b)	the piping arrangement must prevent potential contaminants from being transferred between hauling vessels; and

c)	hoses must not be allowed to contact the ground.