Section 611.231  Source Water Limitation

No CWS may use recycled sewage treatment plant effluent on a routine basis.

BOARD NOTE:  This is an additional State requirement.

(Source:  Amended at 47 Ill. Reg. 16486, effective November 2, 2023)