Section 611.TABLE B   Fecal or Total Coliform Density Measurements

| System Size (Persons Served) |  |  | Samples per Week |
| --- | --- | --- | --- |
| 500 | or fewer |  | 1 |
| 501 | to | 3300 | 2 |
| 3301 | to | 10,000 | 3 |
| 10,001 | to | 25,000 | 4 |
| More than | 25,000 |  | 5 |

Samples must be taken on separate days.

BOARD NOTE:  Derived from 40 CFR 141.74(b)(1) (2012).

(Source:  Amended at 37 Ill. Reg. 1978, effective February 4, 2013)