Section 615.203  Compliance with Groundwater Standards

The owner or operator must comply with the groundwater standards.

a)	The term of compliance is the compliance period.

b)	Compliance must be measured at the compliance point, or compliance points if more than one such point exists.

(Source:  Amended at 47 Ill. Reg. 7581, effective May 16, 2023)