Section 615.403  Required Closure of Units Located Within Maximum Setback Zones

Starting two years after the effective date of the ordinance or regulation that establishes a maximum setback zone, a person must not cause or allow the operation within the maximum setback zone of any landfill unit at which special waste is disposed of.  Closure must be completed within three years after the effective date of the ordinance or regulation that establishes the maximum setback zone.

(Source:  Amended at 47 Ill. Reg. 7581, effective May 16, 2023)