Section 615.422  Required Closure of Units Located Within Minimum Setback Zones

A person must not cause or allow the operation within a minimum setback zone of any land treatment unit after January 10, 1994.  Closure must be completed by January 10, 1995.

(Source:  Amended at 47 Ill. Reg. 7581, effective May 16, 2023)