Section 616.422  Prohibitions

a)	Under Sections 14.2(a), 14.2(c), and 14.3(e) of the Act, a person must not cause or allow the construction or operation of any land treatment unit that is:

1)	Located wholly or partially within a minimum setback zone and that is either a new potential primary source or a new potential secondary source, except as specified in Sections 616.104; or

2)	Located wholly or partially within a maximum setback zone and that is a new potential primary source, except as specified in Section 616.104.

b)	Nothing in this Section prohibits, within a maximum setback zone regulated by the Act, land treatment of domestic wastewater or of sludge resulting from the treatment of water to produce potable water if the land treatment is conducted in compliance with the Act and 35 Ill. Adm. Code:  Subtitle C.

(Source:  Amended at 47 Ill. Reg. 7631, effective May 16, 2023)