Section 616.602  Prohibitions

Under Sections 14.2(a), 14.2(c), and 14.3(e) of the Act, a person must not cause or allow the construction or operation of any unit for the storage and handling of pesticides that is:

a)	Located wholly or partially within a minimum setback zone and that is either a new potential primary source or a new potential secondary source, except as specified in Section 616.104(a) and (b); or

b)	Located wholly or partially within a maximum setback zone and that is a new potential primary source, except as specified in Section 616.104(b).

(Source:  Amended at 47 Ill. Reg. 7631, effective May 16, 2023)