Section 616.722  Prohibitions

a)	Under Sections 14.2(a), 14.2(c), and 14.3(e) of the Act, a person must not cause or allow the construction or operation of any unit for the storage and handling of de-icing agents that is:

1)	Located wholly or partially within a minimum setback zone and that is either a new potential primary source or a new potential secondary source, except as specified in Sections 616.104; or

2)	Located wholly or partially within a maximum setback zone and that is a new potential primary source, except as specified in Section 616.104.

b)	A person must not cause or allow the construction or operation within any setback zone of any outdoor facility for the storage and handling of de-icing agents, except as provided in Section 616.105.

(Source:  Amended at 47 Ill. Reg. 7631, effective May 16, 2023)