Section 652.130  Incorporation by Reference

a)	Abbreviations and Short-name Listing of References. The following names and abbreviated names are used in this Section to refer to materials incorporated by reference:

"ANSI" means those standards published by American National Standards Institute (ANSI).

"AWWA" means those standards published by American Water Works Association.

"NSF" means those standards published by the National Sanitation Foundation International.

b)	The Agency incorporates the following materials by reference:

AWWA. American Water Works Association et al., 6666 West Quincy Ave., Denver CO 80235, (303)794-7711.

AWWA D103-09, Factory Coated Bolted Carbon Steel Tanks for Water Storage, approved January 25, 2009, effective November 1, 2009.

AWWA D107-10, Composite Elevated Tanks for Water Storage, approved January 17, 2010, effective December 1, 2010.

NSF. National Sanitation Foundation International, 3475 Plymouth Road, PO Box 130140, Ann Arbor MI 48113-0140, (734)769-8010.

NSF/ANSI 60-2014 Drinking Water Treatment Chemicals – Health Effects, April 2014.

NSF/ANSI 61-2014 Drinking Water System Components – Health Effects, March 2014.

NSF/ANSI 372-2011 Drinking Water System Components – Lead Content, July 2013.

SSPC. The Society for Protective Coatings/NACE International Joint SSPC Standard/NACE Standard Practice. Industrial Coating and Lining Application Specialist Qualification and Certification. SSPC ACS-1/NACE No. 13, effective March 28, 2016.

c)	No later amendments to or editions of the materials listed in subsection (b) are incorporated.