Section 652.210  Corrosion Prevention Standards

The Agency identifies the following standards for corrosion prevention and mitigation, incorporated by reference in Section 652.130:

a)	AWWA D103-09, Factory Coated Bolted Carbon Steel Tanks for Water Storage;

b)	AWWA D107-10, Composite Elevated Tanks for Water Storage;

c)	NSF/ANSI 60-2014 Drinking Water Treatment Chemicals – Health Effects;

d)	NSF/ANSI 61-2014 Drinking Water System Components – Health Effects;

e)	NSF/ANSI 372-2011 Drinking Water System Components – Lead Content; and

f)	SSPC ACS-1/NACE No. 13 Industrial Coating and Lining Application Specialist Qualification and Certification.