Section 652.220  Corrosion Prevention at Community Water Supplies

a)	A community water supply must use protective coatings personnel to carry out corrosion prevention and mitigation methods on the following:

1)	exposed water treatment tanks, exposed non-concrete water treatment structures, exposed water treatment pipe galleys;

2)	exposed pumps; and

3)	generators. [415 ILCS 5/14.7(a)(2)(A)]

b)	A community water supply must use inspectors to ensure that best practices and standards specified in Section 652.210 are adhered to on each corrosion prevention project under this Part [415 ILCS 5/14.7(a)(2)(B)].