Section 664.740  Operation and Maintenance of the Project

In order for the Agency to approve the final inspection for the project, the loan recipient must certify that it has a certified operator and that it has provided the following training and operation and maintenance documents:

a)	Training pertaining to the proper operation and maintenance of the equipment and process units included in the project.

b)	An operation and maintenance reference library that includes, but is not limited to, the following:

1)	Manufacturer's literature, shop drawings and warranties;

2)	The plans of record with valve indices for the equipment and process units included in the project; and

3)	A maintenance schedule for the equipment and process units included in the project.

c)	Training pertaining to the general operation of public water supply facilities or distribution systems, consisting of an operator self-study course such as, but not limited to, "Water Treatment Plant Operation", Volumes I and II, or "Small Water System Operation and Maintenance", or "Water Distribution System Operation and Maintenance", California State University, Sacramento.