Section 680.1005  Certified Operator Requirement

a)	Every community water supply shall employ on its operational staff at least one natural person certified as competent as a water supply operator under the provisions of the Law. [415 ILCS 45/1]

b)	Except for exempt community water supplies as specified in Section 9.1 of the Law, all portions of a community water supply system shall be under the direct supervision of a properly certified community water supply operator. [415 ILCS 45/1]

c)	A community water supply may satisfy the requirements of this Section by contracting the services of a properly qualified certified operator as specified in Section 1(2) of the Law. [415 ILCS 45/1(3)]  The contract between the community water supply and the contract operator must be approved by the Agency and meet the requirements of this Subpart and the Law.

d)	Certified operators must be of the required class or higher, as specified in Section 1(2) of the Law.

(Source:  Added at 36 Ill. Reg. 12080, effective August 1, 2012)